## Rapport
Your company letterhead with address
SCHOTT AG
Dept.:
Name of orderer
Hattenbergstr. 10
55122 Mainz
Daily wage no. |  |  |  |  | Order number |  | Date:
Building: | [6 empty] | Contract no.
Description of activity (short text max. 40 characters):
Work carried out (long text):
Date | Item | Quantity | Unit | Name | Description of activity for which hours were accrued |  | Unit price (€) | Total price (€)
#VALUE!
#VALUE!
0
0
0
0
0
[6 empty] | Wage subtotal | net € | #VALUE!
Date | Item | Quantity | Unit |  | Item text |  | Unit price (€) | Total price (€)
#VALUE!
0
0
0
0
0
0
0
0
0
[6 empty] | Material / devices subtotal | net € | #VALUE!
Date | Item | Quantity | Unit |  | Item text |  | Unit price (€) | Total price (€)
0
0
0
0
0
0
0
0
0
0
0
0
[6 empty] | Unit price subtotal | net € | 0
Sum total (wage + unit prices / materials / equipment) | [6 empty] | net € | #VALUE!
If electrotechnical works are carried out, the competent responsible electrically skilled person (VEFK) must accept the service and sign to confirm such acceptance.
Project manager |  |  |  |  | VEFK
SCHOTT principal |  |  |  |  | SCHOTT principal | Contractor
Represented by: |  |  |  |  | Represented by: | Represented by:
(clearly in block letters) |  |  |  |  | (clearly in block letters) | (clearly in block letters)
(Date, signature of representative) |  |  |  |  | (Date, signature of VEFK) | (Date, signature of contractor representative)
This is an internal document of SCHOTT AG Mainz. Changes to the contents of the document are only permitted with the express consent of SCHOTT AG Mainz.

## Acceptance checklist
Your company letterhead with address
SCHOTT AG
Dept.: | Dept.: |  | Dept.:
Name of orderer | Name of RESP |  | Name of contractor's electrically skilled person (EFK)
Hattenbergstr. 10 | Hattenbergstr. 10
55122 Mainz | 55122 Mainz
Electrotechnical acceptance checklist in conjunction with the records of output of service package contract partners (SPCP)
This acceptance checklist must be completed if electrotechnical works are carried out.
Inspection |  |  |  |  | Yes | No | Rem.
Can the equipment withstand influences at the place of use?
Marking of connection points and any disconnect points are in order
No visible damage identifiable
Protective conductors are protected against loosening and corrosion
Protection by insulation of all live parts generally present
PE, L and N not confused
Reserve cores routed to terminals or insulated at the ends
Function of mechanical control elements in order
Required protection type respected
Various voltage potentials: Insulation of the line / separate line
Covering on the cable ducts in order
Laying of conductor, cable and lines in order
Sufficient connection space, cable clamp rail, mounting of cable shielding in order
Line colours of main, control and power circuits in order
Labelling of equipment, terminals, terminal strips in order
Device installation, placement, conductor cross-sections according to documentation
Overload protection elements (adjustment values) in order
Documentation available, modifications entered and filed accordingly?
No double terminal assignment for PE (this is not permitted)
PE wired to star point, no looping through the protective conductor
Manufacturer instructions followed for double terminal assignment
Motor circuit breaker / bi-metal correctly wired
Contact protection according to VDE 0660-514 (formerly VDE 0106-100) in order
Worksite left clean
Were modifications made to relevant functions for safety purposes?
Were the safety-relevant functions tested, checked and documented?
Were the RCDs measured and documented?
Are cable channels, pipes, swivel arms and attachments made from metal connected to the protective conductor system?
Is the shielding of cables earthed over a large area on both sides?
Are SCHOTT AG standard components used?
Have wall openings been resealed?
Have firewalls been opened or breached?
Was the proper resealing of the firewall or firewalls requested (workflow)?
Inspection/measurement |  |  |  |  | Yes | No | N/A
Is the DIN VDE 0100-600 inspection protocol fully complete, free of defects and checked for plausibility?
Has the DIN VDE 0113 inspection protocol been fully completed, is it free of defects and has it been checked for plausibility?
Has the DIN VDE 701-702 inspection protocol been fully completed, is it free of defects and has it been checked for plausibility?
Has the DIN VDE 0100-600 supply line initial inspection protocol been fully completed, is it free of defects and has it been checked for plausibility?
Has the equipment exchange inspection protocol been fully completed, is it free of defects and has it been checked for plausibility?
Has the security technology hardware solution acceptance test protocol been fully completed, is it free of defects and has it been checked for plausibility?
Project manager |  | VEFK
SCHOTT principal |  | SCHOTT principal |  | Contractor
Represented by: |  | Represented by: |  | Represented by:
(clearly in block letters) |  | (clearly in block letter) |  | (clearly in block letter)
(Date, signature of representative) |  | (Date, signature of VEFK) |  | (Date, signature of contractor representative)
This is an internal document of SCHOTT AG Mainz. Changes to the contents of the document are only permitted with the express consent of SCHOTT AG Mainz.